## Home
`
Max Q DRAINWAY PLUS INLET CAPTURE
| Common |  | Maxcover
1TP/Z - 2700 - 4900
Mountable M1 & Rolltop M3
3%
| On Grade |  | 0.9 - (Qudm Kerb Inlet & Grate)
|  | Insert Road Grade % > | 3
|  | Insert Approach Flow on Grade > | 2500
|  | CAPTURE ON GRADE > | 300.7222
| In Sag |  | 0.8 - (Qudm Kerb Inlet & Cover)
|  | Insert Required Sag Capture > | 200
|  | INVERT DEPTH mm > | 119.8988
|  | PONDING FROM INVERT m > | 3.2666
Program Help
Grate / Cover
Inlet Code - Opening - Overall Opening - Overall Opening - Length
Kerb Type
Pavement Crossfall
Blockage Factor - On Grade
Blockage Factor - In Sag
Zoom In
Zoom Out
Record Results

## Dway (hidden)
[7 empty] | Code Description | [8 empty] | Control Block | [5 empty] | 1TP/Z - 2700 - 4900 | [10 empty] | Maxcover
[7 empty] | Lintel | No | Grate | No | X-fall | No | K&C | No |  | Grate Type |  | GRA1 | 4 | 1 |  | /Z | 1TP/Z | [9 empty] | 1PT - 2700 - 4900
[7 empty] | 1350 | 1 | Max | 1 | 2% | 1 | M1 | 1 |  | Lintel Type |  | LIN1 | 2 | 3 |  | 1TP | 2700 | 4900 | [8 empty] | Mountable M1 & Rolltop M3
X-fall & K&C Factors | [6 empty] | 2700 | 2 | Mann | 2 | 2.5% | 2 | BK300 | 2 |  | Kerb Type |  | KER1 | 1 | 2 |  | M1 & M3 | [10 empty] | 3%
Factor | <1% | 1-8% | 8-16% |  |  |  | 4050 | 3 | Grid | 3 | 3% | 3 | BK450 | 3 |  | Pavement XFA1 |  |  | 3 | 4 | 3% | XFA | [10 empty] | Qudm Grated Inlet - 0.9
28.57% | 0% | 28.57% | 0% |  |  |  | 5400 | 4 | Cov | 4 | 3.3% | 4 |  |  |  | Red'n RED1 - Grade |  |  | 0.9 | 0.8
Grade factors M1 | [10 empty] | 4% | 5 |  |  |  | Red'n REDR - Sag |  |  | 0.8 | 1 | 1.25 | SAGT
Factor | <1% | 1-4% | 4-8% | 8-16% |  | Rd-flo | Capt 2 | Grade | Inlet | Grate | X-fall | K&C |  | Capt 1
66.67% | 0% | 66.67% | 0% | 0% |  | 2500 | 300.7222 | 3% | 2 | 4 | 3 | 1 |  | 300.7222 | [16 empty] | Mountable Kerb at 3% X-fall
|  | Maxflow Grate | [12 empty] | 2% |  |  | 2.5% |  |  | 3% |  |  | 3.3% |  |  | 4% |  |  |  | X-fall | 2% |  |  | 2.5% |  |  | 3% |  |  | 3.3% |  |  | 4%
| Captur | -%Grd | <Grd | KI&Gt |  | MK-30 | 1 | 1350 |  |  |  | Grades | [18 empty] | Grade | =<1% | 8% | 16% | =<1% | 8% | 16% | =<1% | 8% | 16% | =<1% | 8% | 16% | =<1% | 8% | 16%
|  |  |  | 0 |  | 554.3598 | 0.25 | 3.9802 | 0.71183 | -0.19584 | 0.091434 | 0.25% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0TP | 0.86052 | 0.83066 | 0.79926 | 0.90621 | 0.98217 | 0.85717 | 1 | 1 | 1 | 1.0257 | 1.0099 | 1.0159 | 1.0856 | 1.0331 | 1.0531
| 0 | 0 | 0 | 0 |  | 538.6173 | 1 | 4.7464 | 0.9771 | -3.7734 | 52.6444 | 1% |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ITP | 0.88191 | 0.87071 | 0.85356 | 0.89834 | 0.94305 | 0.96628 | 1 | 1 | 1 | 1.0113 | 1.0162 | 1.0017 | 1.0378 | 1.0542 | 1.0057
| 0 | 0 | Y | 0 |  | 502.4644 | 4 | 2.4227 | 0.90964 | -1.0065 | 31.9075 | 4% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2TP | 0.88415 | 0.86115 | 0.81621 | 0.91096 | 0.92862 | 0.92434 | 1 | 1 | 1 | 1.0074 | 1.0093 | 0.99935 | 1.0247 | 1.0308 | 0.99785
| 0 | 0 | 0 | 0 |  | 386.9881 | 8 | 3.2972 | 0.7565 | -0.34348 | 19.1178 | 8% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3TP | 0.88638 | 0.8516 | 0.77885 | 0.92358 | 0.91419 | 0.8824 | 1 | 1 | 1 | 1.0035 | 1.0023 | 0.99699 | 1.0117 | 1.0075 | 0.98996
| 0 | 0 | 0 | 0 |  | 249.5498 | 16 | 11.9837 | 0.38914 | -0.00085611 | 6.0013e-06 | 16%
[7 empty] | 2 | 2700 | [22 empty] | Barrier Kerb BK300
|  |  |  | 0 |  | 715.4862 | 0.25 | 3.9654 | 0.8333 | -0.7899 | 0 | 0.25% | [18 empty] | X-fall | 0.02 |  |  | 0.025 |  |  | 0.03 |  |  | 0.033 |  |  | 0.04
| 0 | 0 | 0 | 0 |  | 659.7319 | 1 | 4.9958 | 0.9585 | -3.3652 | 46 | 1% | [18 empty] | Grade | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16
| 0 | 0 | Y | 0 |  | 583.0835 | 4 | 3.0674 | 0.8479 | -0.7087 | 22 | 4% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0TP | 0.73439 | 0.67251 | 0.64605 | 0.77338 | 0.79518 | 0.69286 | 0.85342 | 0.80961 | 0.80831 | 0.87533 | 0.81766 | 0.82119 | 0.92646 | 0.83642 | 0.85124
| 0 | 0 | 0 | 0 |  | 510.0561 | 8 | 3.7706 | 0.9247 | -1.8943 | -16 | 8% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ITP | 0.81232 | 0.73414 | 0.80897 | 0.82745 | 0.79515 | 0.9158 | 0.92109 | 0.84316 | 0.94776 | 0.93153 | 0.85686 | 0.94939 | 0.95589 | 0.88883 | 0.9532
| 0 | 0 | 0 | 0 |  | 291.508 | 16 | 3.6353 | 0.6917 | -0.2124 | 8 | 16% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2TP | 0.84926 | 0.79362 | 0.79489 | 0.87502 | 0.8558 | 0.90019 | 0.96055 | 0.92158 | 0.97388 | 0.96768 | 0.93011 | 0.97325 | 0.98431 | 0.95 | 0.97178
[7 empty] | 3 | 4050 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3TP | 0.88638 | 0.8516 | 0.77885 | 0.92358 | 0.91419 | 0.8824 | 1 | 1 | 1 | 1.0035 | 1.0023 | 0.99699 | 1.0117 | 1.0075 | 0.98996
|  |  |  | 0 |  | 704.6656 | 0.25
| 0 | 0 | 0 | 0 |  | 676.7884 | 1 | [23 empty] | Barrier Kerb BK450
| 0 | 0 | Y | 0 |  | 631.9918 | 4 | [23 empty] | X-fall | 0.02 |  |  | 0.025 |  |  | 0.03 |  |  | 0.033 |  |  | 0.04
| 0 | 0 | 0 | 0 |  | 595.4781 | 8 | [23 empty] | Grade | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16 | =<1% | 0.08 | 0.16
| 0 | 0 | 0 | 0 |  | 478.3572 | 16 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0TP | 0.82449 | 0.94111 | 1.1158 | 0.86826 | 1.1128 | 1.1967 | 0.95812 | 1.133 | 1.3961 | 0.98272 | 1.1442 | 1.4183 | 1.0401 | 1.1705 | 1.4702
[7 empty] | 4 | 5400 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ITP | 0.8555 | 0.94793 | 1.0442 | 0.87143 | 1.0267 | 1.1821 | 0.97005 | 1.0887 | 1.2234 | 0.98105 | 1.1064 | 1.2255 | 1.0067 | 1.1477 | 1.2304
|  |  |  | 0 |  | 693.845 | 0.25 | 5.8303 | 0.865 | -1.75 | 0 | 0.25% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2TP | 0.87091 | 0.89934 | 0.90738 | 0.89732 | 0.9698 | 1.0276 | 0.98503 | 1.0443 | 1.1117 | 0.99234 | 1.054 | 1.111 | 1.0094 | 1.0766 | 1.1093
| 0 | 0 | 0 | 0 |  | 693.845 | 1 | 5.8303 | 0.865 | -1.75 | 0 | 1% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3TP | 0.88638 | 0.8516 | 0.77885 | 0.92358 | 0.91419 | 0.8824 | 1 | 1 | 1 | 1.0035 | 1.0023 | 0.99699 | 1.0117 | 1.0075 | 0.98996
| 0 | 0 | Y | 0 |  | 680.9001 | 4 | 5.0002 | 0.7638 | -0.5154 | 0 | 4%
| 0 | 0 | 0 | 0 |  | 680.9001 | 8 | 5.0002 | 0.7638 | -0.5154 | 0 | 8% |  | 1 | <XFACT
| 0 | 0 | 0 | 0 |  | 665.2064 | 16 | 3.4791 | 0.8168 | -0.5637 | 0 | 16% | [17 empty] | Qudm Cover + Kerb Inlet - 0.8
[24 empty] | MK | BK450 | BK300
|  | Mannflow Grate v Maxflow | [12 empty] | Sag | [7 empty] | Depth | Width | Width | Width
[7 empty] | 1 | 1350 | [7 empty] | a |  | b |  | c | d |  | mm | m | m | m
|  |  |  | 0 | 425.2399 | 425.2399 | 0.25 | 3.6794 | 0.79078 | -0.54582 | -0.0098766 | 0.25% |  |  | 0PT | 4.444e-05 |  | -0.01356 |  | 1.766 | 0.3601 | SG1 | 288.7351 | 8.8945 | 8.8245 | 9.0912
| 0 | 0 | 0 | 0 | 376.5241 | 376.5241 | 1 | 4.3087 | 0.96575 | -3.1631 | 44.5407 | 1% | Rdgrd |  | 1PT | 2.139e-05 |  | -0.01008 |  | 1.745 | -20.57 | SG2 | 119.8988 | 3.2666 | 3.1966 | 3.4633
| 0 | 0 | Y | 0 | 302.4522 | 302.4522 | 4 | 3.5242 | 0.65738 | -0.13137 | 27.2149 | 4% | 8 |  | 2PT | 2.009e-05 |  | -0.00962 |  | 1.63 | -23.51 | SG3 | 96.6462 | 2.4915 | 2.4215 | 2.6882
| 0 | 0 | 0 | 0 | 261.2958 | 261.2958 | 8 | 3.1615 | 0.97474 | -2.5011 | -27.6287 | 8% |  |  | 3PT | 1.972e-05 |  | -0.009672 |  | 1.588 | -28.39 | SG4 | 72.235 | 1.6778 | 1.6078 | 2.6882
| 0 | 0 | 0 | 0 | 173.9994 | 173.9994 | 16 | 0.42506 | 0.85173 | -0.07465 | -27.5282 | 16% | Rdflo | [10 empty] | 3.2666 | 3.1966 | 3.4633
[7 empty] | 2 | 2700 |  |  |  |  | 2500 | [9 empty] | 119.8988 | 3.2666
|  |  |  | 0 | 616.8672 | 616.8672 | 0.25 | 4.9772 | 0.91023 | -2.2191 | -0.045723 | 0.25% | [10 empty] | SGD | SGW
| 0 | 0 | 0 | 0 | 560.2139 | 560.2139 | 1 | 4.8532 | 0.93534 | -2.7103 | 20.4237 | 1%
| 0 | 0 | Y | 0 | 445.5782 | 445.5782 | 4 | 6.1279 | 0.65264 | -0.22635 | -0.00020999 | 4%
| 0 | 0 | 0 | 0 | 389.8729 | 389.8729 | 8 | 3.368 | 0.94807 | -2.1022 | -36.7065 | 8%
| 0 | 0 | 0 | 0 | 291.508 | 304.8453 | 16 | 2.6373 | 0.70566 | -0.14807 | 15.9421 | 16%
[7 empty] | 3 | 4050
|  |  |  | 0 | 631.1452 | 631.1452 | 0.25
| 0 | 0 | 0 | 0 | 586.6829 | 586.6829 | 1
| 0 | 0 | Y | 0 | 493.0271 | 493.0271 | 4
| 0 | 0 | 0 | 0 | 454.2389 | 454.2389 | 8
| 0 | 0 | 0 | 0 | 395.9486 | 395.9486 | 16
[7 empty] | 4 | 5400
|  |  |  | 0 | 645.4231 | 645.4231 | 0.25 | 9.5676 | 0.68211 | -0.53764 | 0.84016 | 0.25%
| 0 | 0 | 0 | 0 | 613.1519 | 613.1519 | 1 | 9.0892 | 0.68211 | -0.51076 | 0.79815 | 1%
| 0 | 0 | Y | 0 | 540.476 | 540.476 | 4 | 8.3175 | 0.64188 | -0.29245 | -9.59 | 4%
| 0 | 0 | 0 | 0 | 518.6048 | 518.6048 | 8 | 7.0177 | 0.66785 | -0.31445 | 1.0622e-05 | 8%
| 0 | 0 | 0 | 0 | 487.052 | 487.052 | 16 | 3.2284 | 0.8257 | -0.63918 | 21.2595 | 16%
Gridflow Grate v Maxflow
[7 empty] | 1 | 1350
|  |  |  | 0 | 521.08 | 521.08 | 0.25 | 3.522 | 0.76855 | -0.36751 | 0.082566 | 0.25%
| 0 | 0 | 0 | 0 | 419.8426 | 419.8426 | 1 | 5.1089 | 0.96709 | -3.7953 | 35.1506 | 1%
| 0 | 0 | Y | 0 | 348.8548 | 348.8548 | 4 | 3.4142 | 0.67357 | -0.13224 | -15.6478 | 4%
| 0 | 0 | 0 | 0 | 279.2605 | 279.2605 | 8 | 3.2917 | 0.96905 | -2.4803 | -20.5897 | 8%
| 0 | 0 | 0 | 0 | 192.9455 | 192.9455 | 16 | 5.2716 | 0.4484 | 0.0067662 | -6.1653e-08 | 16%
[7 empty] | 2 | 2700
|  |  |  | 0 | 708.8913 | 708.8913 | 0.25 | 4.0389 | 0.83228 | -0.80378 | 2.6738e-06 | 0.25%
| 0 | 0 | 0 | 0 | 638.1901 | 638.1901 | 1 | 5.0317 | 0.95554 | -3.3117 | 34.1692 | 1%
| 0 | 0 | Y | 0 | 505.425 | 505.425 | 4 | 4.2664 | 0.70723 | -0.23507 | 13.7073 | 4%
| 0 | 0 | 0 | 0 | 426.2766 | 426.2766 | 8 | 3.3552 | 0.95593 | -2.2221 | -39.7954 | 8%
| 0 | 0 | 0 | 0 | 291.508 | 292.2072 | 16 | 2.9238 | 0.67229 | -0.11055 | 5.7855 | 16%
[7 empty] | 3 | 4050
|  |  |  | 0 | 704.6656 | 705.3175 | 0.25
| 0 | 0 | 0 | 0 | 668.1831 | 668.1831 | 1
| 0 | 0 | Y | 0 | 544.4437 | 544.4437 | 4
| 0 | 0 | 0 | 0 | 495.1167 | 495.1167 | 8
| 0 | 0 | 0 | 0 | 418.1108 | 418.1108 | 16
[7 empty] | 4 | 5400
|  |  |  | 0 | 693.845 | 701.7437 | 0.25 | 5.8056 | 0.84061 | -1.3875 | -6.2617e-05 | 0.25%
| 0 | 0 | 0 | 0 | 693.845 | 698.1761 | 1 | 5.8436 | 0.88842 | -2.1616 | 0.00017226 | 1%
| 0 | 0 | Y | 0 | 583.4625 | 583.4625 | 4 | 6.0356 | 0.71211 | -0.40358 | 5.9225 | 4%
| 0 | 0 | 0 | 0 | 563.9568 | 563.9568 | 8 | 4.5799 | 0.78063 | -0.5975 | 4.1358e-05 | 8%
| 0 | 0 | 0 | 0 | 544.0143 | 544.0143 | 16 | 3.7318 | 0.79037 | -0.5062 | -0.092526 | 16%
Draincover v Mannflow
[7 empty] | 1 | 1350
|  |  |  | 0 | 232.34 | 232.34 | 0.25 | 9.9465 | 0.4885 | -0.08888 | -1.4739e-07 | 0.25%
| 0 | 0 | 0 | 0 | 210.4284 | 210.4284 | 1 | 3.4401 | 0.97747 | -2.8223 | -55.7744 | 1%
| 0 | 0 | Y | 0 | 186.278 | 186.278 | 4 | 4.0684 | 0.53501 | -0.034495 | -5.001 | 4%
| 0 | 0 | 0 | 0 | 174.5734 | 174.5734 | 8 | 4.9978 | 0.37673 | 0.031728 | -3.0559e-09 | 8%
| 0 | 0 | 0 | 0 | 130.5821 | 130.5821 | 16 | 0.22011 | 0.94289 | -0.09222 | -9.1546 | 16%
[7 empty] | 2 | 2700
|  |  |  | 375.1731 | 375.1731 | 375.1731 | 0.25 | 46.3464 | 0.23718 | -0.014178 | 114.1727 | 0.25%-1%
| 0 | 0 | 0 | 375.1731 | 375.1731 | 375.1731 | 1 | 8.801 | 0.70317 | -0.652 | -59.596 | 0.25%-1%
| 334.1358 | 334.1358 | Y | 313.6171 | 313.6171 | 313.6171 | 4 | 13.7378 | 0.42343 | -0.025485 | 0.00042103 | 4%
| 0 | 0 | 0 | 292.9267 | 292.9267 | 292.9267 | 8 | 1.3255 | 0.92561 | -0.64133 | -44.5896 | 8%
| 0 | 0 | 0 | 243.6083 | 243.6083 | 243.6083 | 16 | 2.4232 | 0.58418 | -0.0002356 | -10.0936 | 16%
[7 empty] | 3 | 4050
|  |  |  | 0 | 398.7479 | 398.7479 | 0.25
| 0 | 0 | 0 | 0 | 398.7479 | 398.7479 | 1
| 0 | 0 | Y | 0 | 353.0468 | 353.0468 | 4
| 0 | 0 | 0 | 0 | 342.7016 | 342.7016 | 8
| 0 | 0 | 0 | 0 | 310.5349 | 310.5349 | 16
[7 empty] | 4 | 5400
|  |  |  | 0 | 422.3226 | 422.3226 | 0.25 | 0.81549 | 0.98471 | -0.68319 | 321.4261 | 0.25%-1%
| 0 | 0 | 0 | 0 | 422.3226 | 422.3226 | 1 | 6.6966 | 0.91286 | -3.1925 | 0.0055272 | 0.25%-1%
| 0 | 0 | Y | 0 | 392.4765 | 392.4765 | 4 | 10.7811 | 0.56275 | -0.19532 | 1.165e-05 | 4%
| 0 | 0 | 0 | 0 | 392.4765 | 392.4765 | 8 | 10.7811 | 0.56275 | -0.19532 | 1.165e-05 | 8%
| 0 | 0 | 0 | 0 | 377.4615 | 377.4615 | 16 | 4.1936 | 0.75211 | -0.45196 | -2.8891e-05 | 16%
Grate / Cover
Inlet - Kerb Opening - Length
Kerb Type
Pavement Crossfall
Blockage Factor - On Grade
Blockage Factor - In Sag
Blockage Factor - In Sag

## Record
RECORDED INLET CAPTURES | [14 empty] | Maxcover | 1TP/Z | 2700 | 4900 | M1 & M3 | 3% | 0.9 | 3 | 2500 | 300.7222 | 0.8 | 200 | 119.8988 | 3.2666
Inlet No / Description | Common | [5 empty] | Inlet on Grade |  |  |  | Inlet in Sag |  |  |  | Common | [5 empty] | Inlet on Grade |  |  |  | Inlet in Sag
| Grate or Cover | Inlet Code | Kerb Opening mm | Overall Length mm | Kerb Type | Pavement Cross-fall | Blockage Factor | Road Grade % | Approach Flow L/s | Capture L/s | Blockage Factor | Capture L/s | Depth at Invert mm | Ponding at Invert m | Grate or Cover | Inlet Code | Kerb Opening mm | Overall Length mm | Kerb Type | Pavement Cross-fall | Blockage Factor | Road Grade % | Approach Flow L/s | Capture L/s | Blockage Factor | Capture L/s | Depth at Invert mm | Ponding to Invert m
G5 | Maxflow | 3TP/X | 5400 | 8100 | M1 & M3 | 4% | 1 | 0.25 | 500 | 389.2989 | 0.8 | 300 | 246.9069 | 5.6927
G6 | Maxcover | 2TP/Z | 4050 | 6500 | BK300 | 3% | 1 | 10 | 300 | 141.4589 | 0.8 | 300 | 294.3611 | 9.012
MH1/3 | Mannflow | 1TP/Y | 2700 | 4900 | BK300 | 2.5% | 0.9 | 1 | 500 | 215.1117 | 0.8 | 300 | 344.2933 | >12m
Record Help | [5 empty] | Inlet Codes
- Add inlet descriptions to the table as each is recorded. | [5 empty] | Troughs: 0T to 3T |  | Chamber and Drainway Plus Lintel: P
- A row may be inserted for additional notes using Insert-Row. | [5 empty] | Grates: Maxflow -X, Mannflow -Y, Draincover -Z, Gridflow -W
- Recorded captures may be saved, File-Save or printed and then deleted. | [5 empty] | Cover/Grate |  | 0 Trough | 1 Trough | 2 Troughs | 3 Troughs
- To delete rows, select the rows and then Edit-Delete-Entire Row-OK. | [5 empty] | Maxflow Grate |  | 0TP/X | ITP/X | 2TP/X | 3TP/X
- Be careful not to delete the headings row which may be recovered using | [5 empty] | Mannflow Grate |  | 0TP/Y | ITP/Y | 2TP/Y | 3TP/Y
Edit-Undo if the unintended happens. | [5 empty] | Gridflow Grate |  | 0TP/W | ITP/W | 2TP/W | 3TP/W
- Always keep an original copy to replace a spoilt spreadsheet. | [5 empty] | Draincover |  | 0TP/Z | ITP/Z | 2TP/Z | 3TP/Z
- To print, first select the print area then File-Print Area-Set Print Area.
- To preview the print, File-Print Preview.
- In Print Preview, use Setup to vary Page % Normal Size, Margins and
Header which sets a title for the print and then Print.
- For a black on white print, select the print area above and Format-Cells-
Fonts-Colour-Automatic.
Zoom In
Zoom Out
Home

## Help
| Max Q DRAINWAY PLUS INLET CAPTURE |  | Kerb Inlet Length
Common | Grate / Cover | Maxcover | The inlets have a base length of 1350mm which may be extended by troughs of length 1350mm. Drainway Plus is calibrated for kerb openings of 1350mm, 2700mm, 4050mm and 5400mm. See also Inlet Codes in Grate/Cover.
| Inlet - Lintel Size - Overall | 1PT - 2700 - 4900
| Kerb Type | Mountable M1 & Rolltop M3
| Pavement Crossfall | 3%
On Grade | Blockage Factor on Grade | 0.9 - (Qudm Kerb Inlet & Grate) | Kerb Type
| Insert Road Grade % > | 9 | Inlets are calibrated for 4 kerb and channel types, Mountable M1, Rolltop M3, and Barrier kerbs combined with 300mm or 450mm channels. Nearly enough kerb types M1 and M3 were found to produce identical captures.
| Insert Approach Flow on Grade > | 550
| CAPTURE ON GRADE > | 300.7222
In Sag | Blockage Factor in Sag | 0.8 - (Qudm Kerb Inlet & Cover)
| Insert Required Sag Capture > | 200 | Pavement Crossfall
| INVERT DEPTH mm > | 119.8988 | Testing of crossfalls of 2.5% and 3.3% have been used to interpolate and extrapolate captures for crossfalls from 2% to 4%.
| PONDING FROM INVERT m > | 3.2666
Basis for Captures |  |  | Blockage
Inlet Captures in this program faithfully replicate the test results from hydraulic modelling by the Urban Water Resources Centre of the University of South Australia. The program yields accurate captures more readily than can be read from charts. |  |  | Calibrated capture on grade is reduced by application of a blockage factor stipulated by Qudm, 0.9 for grate and 0.8 for cover when combined with a kerb inlet. Sags inlets, calibrated with the grate covered, are allowed the calibrated capture but for covers a reduction factor of 0.8 is required.
Drainway Plus |  |  | Road Grade
Drainway Plus differs from the original Drainway in that it is calibrated for 100mm kerb inlet openings compared with the original 115mm and the incorporation of the deflector in the inlet channel that improves capture. |  |  | The road grade at the inlet between 0.20% and 16% must be inserted in the appropriate cell.
Approach Flow on Grade
Child Safety |  |  | When the approach flow on grade is inserted in its cell, capture for the conditions nominated are displayed in the cell below.
Drainway Plus drawing D1 requires an inlet opening of 100mm for which the system is calibrated and which is in accord with the requirements of Qudm 7.04.2 and 7.05.1. This sets Drainway Plus apart.
Capture in Sag
When the required capture in sag is inserted in its cell the required depth of ponding at invert is displayed together with the width of ponding measured from the channel invert.
Grate/Cover
The program computes captures for Maxflow ,Manning and Gridflow grates and the Maxcover. For Inlet Codes go to Record Results on the home page.
Zoom In
Zoom Out
Home